Automation of Electrochemical Square Wave Voltammetry Data Analysis

Steps on using the data automation program

Next

Step 1: Open the program labeled “Ideation Automation”

Previous Next

Step 2: Click “Browse” and select folder with raw data in “.txt” or “.csv” format.

Previous Next

Step 3: Copy headers from the raw data

Previous Next

Step 4: Paste the headers into the header tap of the document and select the relevant seperator

Previous Next

Step 5: Counter number of blank lines separating the headers and the data

Previous Next

Step 6: (‎2024-‎08-‎08 11:27:50 PM) Add the indexes of the columns of interest, separated by commas

Previous Next

Step 7: Add a value for smoothing the curve

Previous Next

Step 8: (‎Optional) Modify the bounds of interest in the data

Previous Next

Step 9: Insert the minimum height of the peaks (this value is determined using trail and error and is data dependent)

Previous Next

Step 10: (‎Optional) Click box to detect peaks instead of minimum values in the graph

Previous Next

Step 11: Click “Ok”

Previous

Step 12: (‎2024-‎08-‎08 11:27:58 PM) Figures and summary documents automatically generated in the folder with the data

Return to top of page...